## Slide 1: Navigation of an ETV Simulator
(Endoscopic Third Ventriculostomy)
github.com/pratyush911/ETVSimulation
Aditya Jain
Parth Shah
Pratyush Maini
COD310
under Professor Subodh Kumar

## Slide 2: Objective
To create a navigation system for an ETV simulator that correctly guides a user to do an ETV. The navigation should be intuitive in the sense that it has strong correlations between the real and physical world.

## Slide 3: Work Timeline
Understanding the Problem and getting the system ready
Understanding the Procedure
Learning Basics of OpenGL
Working with Chai3D and Haptic Devices: Stanford CS277
Make Small tweaks in the code and run it
Coordinated Movement on a Cylinder
Making the Movement more intuitive
Implementing with the Endoscope Version
Get Phantom Model 3D Printed and adjust camera view
Calibration of haptic device with Phantom Model
Navigating

## Slide 4: Understanding the Problem
Hydrocephalus

## Slide 5: Understanding the Problem
Four Ventricles in Brain
2 Lateral Ventricles, Third, Fourth Ventricle
Aquaduct joining Third and Fourth Ventricle gets blocked
CSF (Cerebro Spinal Fluid) get trapped
Enlargement of Third and Lateral Ventricles

## Slide 6: Understanding the Problem
Reading through MRI Images

## Slide 7: Understanding the Problem
Choroid Plexus generates CSF
CSF circulated in brain
Absorption by Arachnoid granulations in brain
Re-production of CSF in Choroid Plexus

## Slide 8: Installing Libraries & Getting the System Ready
Received System in early February
Installed libraries for Chai3D, OpenGL ..
Tested that the inherited code executes

## Slide 9: Understanding the Procedure
Create a burrhole at a suitable location.
Ideally straight line path without disturbing sensitive arteries & veins.
Rigid Pivoting of endoscope at the point of burrhole.
Jelly like nature of gyri in brain
Can be pierced, rejoins when endoscope removed

## Slide 10: Understanding the Procedure

## Slide 11: Understanding the Procedure
Navigate the endoscope
Following the Choroid Plexus (red in colour)
Special care for Fornix – leads to memory loss
Perforate through the Foramen of Monro

## Slide 12: Understanding the Procedure
Complications involved
Fornix should not be damaged
Basilary Artery should not be touched – Locates at the base of the third ventricle
Vital nerves should not be hit during navigation– may lead to loose of senses/ death

## Slide 13: Understanding the Procedure
Visit to AIIMS for understanding the problem

## Slide 14: Learning Basics of OpenGL
Understanding Basics of OpenGL
Shaders, Transformations, Homogenous Coordinate System

## Slide 15: Practice Codes / Tutorials OpenGL
GLFW, GLUI libraries
Opening windows
Drawing triangles
Basic Shading
Input Output
Put up on Git repository

## Slide 16: Working with Chai3D and Haptics
Over 30 Example Chai3D Programs with use of Mesh, Force, Haptic Endoscope, Field effects etc.

## Slide 17: Working with Chai3D and Haptics
Stanford CS277: Course on Experimental Haptics
Part I - Shapes Using Force Fields
Part II - Inverting the Force Fields
Part III - Animating the Objects
Good Introduction to Libraries

## Slide 18: Make Small tweaks in the code and run it
Working on Modularized Code
Adding I/O operations to introduce more readability.

## Slide 19: Mid Semester Break

## Slide 20: Coordinated Movement on Cylinder
Getting Navigation to work on Cylinder proto-type

## Slide 21: Coordinated Movement on Cylinder

## Slide 22: Intuitive Navigation
What is intuitive for us might not be how an endoscope works?
Physical Translation  Virtual Translation ? YES
Physical Rotation  Virtual Rotation ? YES & … NO

## Slide 23: Adjusting Camera View
Two Choices – Rotation Allowed / Static Viewing Angle
Static Viewing Angle during translation
Rotation during halts

## Slide 24: Get Phantom Model 3D Printed
Printed in IIT Delhi
Markings on the skull for calibration
STL file for printing not compliant with VoxelFile for Virtual Diagram

## Slide 25: New Virtual Copy Created
DCM to PNG Conversion
Reconstructed a new 3D Virtual Model in Compliance with the 3D Printed Physical Model
PNG to Voxel Conversion

## Slide 27: Calibration of haptic device with Phantom Model
Voxel to Multi-Mesh Conversion
Polygonisation Approach

## Slide 29: Calibration of haptic device with Phantom Model
Local 3 points algorithm developed for coordinate calibration.
Rigid ICP / MeshLab not a feasible option
Accuracy v/s Feasibility Trade-off
Static followed by Dynamic Calibration

## Slide 30: Calibration Algorithm
Step1: Scaling
Step2:Rotating to align normal vectors
Step3:Translating to match one point of virtual space and its corresponding real point
Step4:Rotating to match all points

## Slide 32: Navigating through the 3D Model

## Slide 34: Thank You